Quality Control Document:

# Sample Collection Manual Checklist

| Supersedes: | N/A – new document |
| --- | --- |
| Last reviewed: | Apr-2026 |
| Next review in: | 2029, Quarter 1 (Jan-Mar) |

Access the Clinical Research e-Pathway for a roadmap to help navigate a complete project lifecycle.

# Purpose

This quality control document (QCD) contains a checklist that supports Clinical Trials Units (CTUs) in the development of a complete, consistent, and compliant Sample Collection Manual (formerly referred to as the Laboratory Manual) that is fully aligned with the eprotocol.

# Scope

The requirements defined within this QCD are mandatory and shall be incorporated in full during the development of a Sample Collection Manual. This document is designed to be used for clinical trial of investigational medicinal products (CTIMPs) but could also be used for non-CTIMPs and studies to support best practice.

# Implementation plan

This QCD will be implemented in line with this document’s effective date.

# Stakeholders

CTU staff. Where a CTIMP is being managed independently, outside of a CTU, where this QCD states ‘the CTU’, read this to be ‘the CI’, or the CI’s details as appropriate.

# Instructions

- The staff members must use the checklist provided on page 5 of this document.

- Remove instruction pages 1-4.

- Update the header to include the trial ID.

- Update the document’s footer details (e.g., with local filename and version number), retaining the document reference information to this QCD.

- Complete all sections of this QCD checklist to confirm that the Sample Collection Manual provided to trial locations contains clear, sufficient, and trial-specific instructions for the collection, handling, storage, and transfer of biological samples.

- All sections of the checklist must be completed in full. Where an item is not applicable, this must be clearly indicated, and a brief justification recorded. Any identified gaps or deviations must be documented, with actions defined as appropriate.

- A separate checklist should be used for each trial and each participating site in a trial.

# Related documents

## Associated QMS documents

UoBH-CRL-SOP-006 CTU Selection, Set-up and Oversight of Laboratories

UoBH-CRL-QCD-025 Laboratory Self-Assessment Questionnaire

UoBH-CRL-QCD-027 Memorandum of Understanding Template

Access to the full UoB QMS for clinical research is available via the CRCT website.

# Document contributors

Author(s)

Parisa Pordelkhaki (Clinical Research Compliance / QMS Manager)

Reviewer(s)

Version by – Subject matter experts in the Clinical Research Compliance Team (CRCT), Research Ethics, Governance & Integrity Team (REGI) and UoB CTUs Clinical Research Oversight Committee (C-ROC) that includes the Directors and Directors of Operations of the BCTU and CRCTU Human Tissue Oversight Committee (HTOC) Any other stakeholders (see stakeholders above) Revisions by – CRCT (see document revision log below)

Authoriser(s)

Colin Watts (Chair of C-ROC) Tracey Wilkinson (Chair of HTOC)

# Document history

## Document version log

The table below summarises the changes made to this document compared to its superseded versions. For information on earlier versions not shown, please email the CRCT (crct@contacts.bham.ac.uk).

| Version | Reason for update |
| --- | --- |
| 1.0 (28-Apr-2026) | N/A – new UoB harmonised QCD. |

## Document revision log

The table below summarises the reasons for any revisions made to the latest version of this document. Revisions do not affect the key content and/or requirements outlined in the document.

| Revision | Reason for revision | Editor/reviewer | Authoriser |
| --- | --- | --- | --- |
| 1.0 (22-Jul-2026) | Updated UoB logo. Updated hyperlinks. ‘Trial name’ changed to ‘Trial ID’ in template header | Katy Smith (Senior Administrator) | Parisa Pordelkhaki (QMS Manager) |

< start of the checklist – delete this red text and the pages above when you are ready to use this template >

# Sample Collection Manual Checklist

This checklist supports the Sponsor in demonstrating that trial locations have been provided with clear and sufficient instructions to ensure appropriate handling, traceability, and integrity of trial-related biological samples.

For the following trial:

| Protocol Title | <insert trial acronym>: <insert trial full title> |
| --- | --- |
| Protocol Version Number | <insert protocol version number and date used to write the agreement> |
| Sponsor Reference Number | <insert sponsor reference number, RG number of UoB sponsored trials> |
| IRAS Number |  |
| Chief Investigator |  |

| Area | Required Content | Included? (Y/N) | Manual Section Ref | Comments / Gaps |
| --- | --- | --- | --- | --- |
| Trial Documentation | Trial identifier, protocol number, document version and date |  |  |  |
| Trial Oversight | Named Coordinating Centre (if applicable) or laboratories contact responsible for site support |  |  |  |
|  | Trial Office contact details for routine and urgent queries |  |  |  |
|  | Defined escalation route for sample-related issues |  |  |  |
| Document Terminology | List of abbreviations and definitions |  |  |  |
| Sample Description | Description of biological samples collected in the trial |  |  |  |
|  | Sample matrix, volume, container type, additives/anticoagulant |  |  |  |
| Sample Purpose | Intended use of samples (e.g. eligibility, safety, PK, endpoint they are attributed to, sub-studies, future research) |  |  |  |
| Responsibilities | Responsibilities of the Coordinating Centre |  |  |  |
|  | Responsibilities of the collection site |  |  |  |
|  | Responsibilities of analytical/testing laboratories |  |  |  |
| Sample Schedule | Summary of samples to be collected by visit/timepoint |  |  |  |
| Collection Materials | Description of collection kits and consumables provided |  |  |  |
|  | Instructions for storage and management of kits at site |  |  |  |
| Sample Identification | Requirements for unique sample identification |  |  |  |
|  | Required information on sample labels |  |  |  |
|  | Confirmation that subject identifiers are not used (unless previously agreed in the protocol) |  |  |  |
|  | Procedures for correction of labelling errors |  |  |  |
| Sample Collection | Instructions for sample collection in accordance with protocol |  |  |  |
|  | Timing requirements and pre-collection conditions |  |  |  |
| Sample Processing | Pre-analytical processing requirements (if applicable) |  |  |  |
|  | Description of assessments/analysis to be performed |  |  |  |
| Sample Storage | Storage conditions at site prior to shipment |  |  |  |
|  | Maximum storage duration prior to shipment |  |  |  |
|  | Actions to be taken in the event of temperature deviations |  |  |  |
| Sample Transport | Instructions for packaging and shipment of samples |  |  |  |
|  | Temperature control requirements during transport |  |  |  |
|  | Courier arrangements and shipment timelines |  |  |  |
|  | Arrangements for weekends/public holidays |  |  |  |
| Chain of Custody | Confirmation of Consent status (i.e. optional consent) |  |  |  |
|  | Identification of sample custody and transfer points |  |  |  |
|  | Documentation required to support sample traceability |  |  |  |
| Non-Compliance | Procedures to follow when sample collection procedures are not correctly followed. |  |  |  |
|  | Procedures to follow when delays, deviations, or sample compromise have occurred |  |  |  |
|  | Requirements for documentation and notification to CTU |  |  |  |
| Health & Safety | Biosafety considerations for handling human samples |  |  |  |
|  | PPE and waste disposal guidance |  |  |  |
| Documentation | Source documentation requirements at site |  |  |  |
|  | Requirements for correction of records |  |  |  |
|  | Record retention expectations at site |  |  |  |
| Training | Requirement for site staff to be trained on the manual |  |  |  |
|  | Requirement to use the current approved version |  |  |  |
| Sample Disposal | Circumstances under which collection site-level disposal is permitted |  |  |  |
| Document Control | Version history and summary of changes |  |  |  |