# Quality Control Document:

# Setting up a Laboratory Master File

# Purpose

The creation of a laboratory master file (LMF) will help to ensure that a research project’s procedures are correctly documented, and it will allow laboratory team members to easily access all of the project’s laboratory-specific information. The purpose of this document is to provide an LMF Index template for use within an LMF.

All of the documents listed, in each of the nineteen sections of the LMF Index template, are mandatory content within an LMF for clinical trials of investigational medicinal products (CTIMPs). Whilst the entire LMF content listed in the LMF Index template is mandatory for CTIMPs, the use of an LMF index is optional.

Some content listed in the LMF Index template appears in bold text. The emboldened text indicates that the documents are mandatory content within an LMF for: i) non-CTIMPs; ii) studies working with human biomaterial that is categorised as ‘relevant material’ under the Human Tissue Act 2004. The use of an LMF index within their LMF is optional.

An LMF is not mandatory for studies. However, to support best practice, the LMF Index template along with all the documents listed in it, may be used to create a study’s LMF.

# Instructions

- Remove these first instruction pages.

- Update the header to include the study/trial ID.

- Update the footer, retaining the document reference information relating to this quality control document (QCD).

- Develop and print all relevant documents that are required for your trial/study and collate them in a file to create your LMF.

- Complete the LMF Index in line with your trial’s/study’s requirements.

- Add your LMF Index to the front of the LMF.

- Ensure all documents listed in the LMF Index are present in the LMF, where applicable.

Where a mandatory section is inapplicable to the study/trial; do not remove it from the LMF (or LMF index); add a note to file in the LMF. Non-mandatory sections can be removed from the LMF/LMF index without the requirement for a note to file in the LMF.

Review the LMF regularly to ensure that it remains up to date.

# Related documents

UoB-CRL-QCD-002 Laboratory Roles and Duties

UoB-CRL-QCD-003 Laboratory Competencies

UoB-CRL-QCD-004 Laboratory Contracts and Agreements Checklist

UoB-CRL-QCD-005 Key Contacts

UoB-CRL-QCD-006 Housekeeping Schedule

UoB-CRL-QCD-007 Temperature Monitoring

UoB-CRL-QCD-008 Refrigerator or Freezer Failure Management

UoB-CRL-QCD-009 Equipment Fitness for Use and User Acceptance Testing

UoB-CRL-SOP-001 Laboratory Set-up and Management

UoB-CRL-SOP-002 Laboratory Facilities

UoB-CRL-SOP-003 Sample Management

UoB-CRL-SOP-004 Laboratory Analysis

UoB-CRL-SOP-005 Reportable Issues

QMS documents can be found on the CRCT website. Internal work instructions can be obtained from the CRCT (mailto:crct@contacts.bham.ac.uk) and/or from the RGT (researchgovernance@contacts.bham.ac.uk).

| No. | Section | Contents | References |
| --- | --- | --- | --- |
| 1 | Key Contacts | List of Key Contacts | UoB-CRL-SOP-001 Laboratory Set-up and Management UoB-CRL-QCD-005 Key Contacts |
| 2 | Laboratory Roles and Duties | Laboratory Roles and Duties Log CVs (signed and dated), less than two years old Job descriptions (signed and dated) Training Log | UoB-CRL-SOP-001 Laboratory Set-up and Management UoB-CRL-QCD-002 Laboratory Roles and Duties |
| 3 | Housekeeping Schedule | Housekeeping Record (blank) Housekeeping Record(s) (completed) | UoB-CRL-SOP-002 Laboratory Facilities UoB-CRL-QCD-006 Housekeeping Schedule |
| 4 | Refrigerator and Freezer Temperature Monitoring | Temperature Monitoring Record (blank) Temperature Monitoring Record(s) (completed) per unit Refrigerator or Freezer Failure Form (blank) Refrigerator or Freezer Failure Form (s) (completed) | UoB-CRL-SOP-002 Laboratory Facilities UoB-CRL-QCD-007 Temperature Monitoring UoB-CRL-QCD-008 Refrigerator or Freezer Failure Management |
| 5 | Equipment Fitness for Use and User Acceptance Testing | Equipment Fitness for Use and User Acceptance Testing Record (blank) Equipment Fitness for Use and User Acceptance Testing Record(s) (completed) per equipment | UoB-CRL-SOP-002 Laboratory Facilities UoB-CRL-QCD-009 Equipment Fitness for Use and User Acceptance Testing |
| 6 | Equipment Maintenance | Equipment Maintenance Record (blank) Equipment Maintenance Record(s) (completed) per equipment - Where applicable: Balance Calibration Record (blank) Balance Calibration Record(s) (completed) per balance Thermometer Calibration Record (blank) Thermometer Calibration Record(s) (completed) per thermometer Pipette Calibration Record (blank) Pipette Calibration Record(s) (completed) per pipette | UoB-CRL-SOP-002 Laboratory Facilities UoB-CRL-QCD-010 Equipment Maintenance Schedule UoB-CRL-QCD-011 Calibration of Balances UoB-CRL-QCD-012 Calibration of Thermometers UoB-CRL-QCD-013 Calibration of Single-Channel and Multi-Channel Pipettes |
| 7 | Computerised Systems | - Per computerised system: User Access Level Record Computerised System Validation Plan Computerised System Validation Report – authorised and signed Evidence of re-validation following the installation of upgrades or patches - where applicable | UoB-CRL-SOP-002 Laboratory Facilities UoB-CRL-SOP-004 Laboratory Analysis UoB-CRL-QCD-014 Computerised System and User Access Levels UoB-CRL-QCD-021 Computerised System Validation Plan |
| 8 | Clinical Trial Kits (where applicable) | Sample Kit Preparation and Dispatch Record (template) Sample Kit Preparation and Dispatch Record(s) (completed) | UoB-CRL-SOP-003 Sample Management UoB-CRL-QCD-015 Clinical Sample Kits |
| 9 | Consent | Procedure to confirm consent Procedure to follow when consent is withdrawn Consent Withdrawal Forms (completed) – where applicable | UoB-CRL-SOP-003 Sample Management UoB-CRL-QCD-013 Managing Withdrawal of Consent in the Laboratory |
| 10 | Sample Tracking | Sample Transport Record (template) Sample Transport Record(s) (completed) Sample Integrity Check upon Receipt Record (template) Sample Integrity Check upon Receipt Record(s) (completed) Sample Storage Record (or directions to location of digital file) | UoB-CRL-SOP-003 Sample Management UoB-CRL-QCD-017 Sample Transport UoB-CRL-QCD-018 Sample Receipt, Labelling, Tracking and Storage |
| 11 | Damaged, Unexpected or Mislabelled Samples | Damaged, Unexpected or Mislabelled Samples form (template) Damaged, Unexpected or Mislabelled Samples form(s) (completed) – where applicable | UoB-CRL-SOP-003 Sample Management UoB-CRL-QCD-019 Processing of Damaged, Unexpected or Mislabelled Samples |
| 12 | Analytical Plans | - Per Assay Analytical Plan (blank) Analytical Plan (completed) Repeat Analysis Form (blank) Repeat Analysis Form(s) (completed) - where applicable | UoB-CRL-SOP-004 Laboratory Analysis UoB-CRL-QCD-022 Analytical Plans |
| 13 | Reportable Issues | List of reportable issues Reportable Issues Form (blank) Reportable Issues Form(s) (completed) – where applicable | UoB-CRL-SOP-005 Reportable Issues UoB-CRL-QCD-024 Reportable Issues |
| 15 | Data Reporting | Data Reporting Check Form (blank) Date Reporting Check Form(s) (completed) | UoB-CRL-SOP-004 Laboratory Analysis UoB-CRL-QCD-023 Review and Release of Results |
| 16 | Laboratory Competencies | - Blank form of each laboratory competency definition (including both competent to train and competent to perform definitions) for each trial assay and key piece of equipment. | UoB-CRL-SOP-001 Laboratory Set-up and Management UoB-CRL-QCD-003 Laboratory Competencies |
| 17 | Assay Validation | - Per Assay Assay Validation Plan Assay Validation Report, approved and signed | UoB-CRL-SOP-004 Laboratory Analysis UoB-CRL-QCD-020 Assay Validation |
| 18 | Contracts and Agreements | Laboratory Set-up Contract/Agreement (signed and dated) Laboratory Set-up Contract/Agreement Checklist All other contracts (signed and dated) | UoB-CRL-SOP-001 Laboratory Set-up and Management UoB-CRL-QCD-004 Laboratory Contracts and Agreements Checklist |
| 19 | Protocol | Current protocol Superseded versions of protocol (clearly labelled as superseded) | UoB-CRL-SOP-001 Laboratory Set-up and Management |