# Quality Control Document:

# Equipment Fitness for Use and User Acceptance Testing

# Purpose

Human biomaterials collected as part of clinical trials must be analysed and processed using appropriate equipment to ensure the data produced is accurate and reliable and the integrity of the samples is maintained.

This document provides a record that can be adapted to document equipment fitness for use and user acceptance testing and instructions on how to complete this record. This document is designed to be used for Clinical Trials of Investigational Medicinal Products (CTIMPs) but could also be used for non-CTIMP trials or studies to support best practices. It is possible to create a project specific Equipment Fitness for Use and User Acceptance Testing Record, which should contain the specifications outlined in the Laboratory Facilities SOP (UoB-CRL-SOP-002).

# Instructions

Remove this first instruction page.

Update the trial/study ID in the header.

Update the footer, retaining the document reference information relating to this quality control document (QCD).

- Record the Equipment Unique ID Number of the equipment you are testing.

- Record the laboratory number of where this equipment is located.

- Set and record the acceptance criteria which will be used to assess this equipment fitness for use. To be deemed fit for used this acceptance criteria must be met. An example acceptance criteria is as follows: The centrifuge to be used in this trial must have: rotas and buckets capable of spinning 96-well plates are required, must be capable of reaching a speed of 1000rpm, and must be able to chill to 4°C.

- Record the definition of fit for use. For the example above it could be ‘if the centrifuge has all of the requirements stated in the acceptance criteria it is fit for use’.

- Perform and record a pre-trial acceptance test using the defined criteria to determine the equipment’s fitness for use in the trial.

- Fitness for use and user acceptance testing may need to be repeated throughout the trial, for example after a routine service. Record the frequency at which the fitness for use and user acceptance testing. For example, prior to any sample processing and after the equipment has been serviced.

- Record any acceptance tests which are performed during the trial.

- Store the equipment fitness for use and user acceptance testing record in the Laboratory Master File throughout the trial and archive along with the other trial documents when the trial closes.  Refer to the Archiving SOP (UoB-ARC-SOP-001).

# Related documents

UoB-ARC-SOP-001 Archiving

UoB-CRL-SOP-001 Laboratory Set-up and Management

UoB-CRL-SOP-002 Laboratory Facilities

UoB-CRL-SOP-003 Sample Management

UoB-CRL-SOP-004 Laboratory Analysis

UoB-CRL-SOP-005 Reportable Issues

UoB QMS documents can be found on the CRCT website. Internal work instructions can be obtained from the CRCT (crct@contacts.bham.ac.uk) and/or from the RGT (researchgovernance@contacts.bham.ac.uk).

# Equipment Unique ID Number:

# Lab Number:

| Acceptance Test Criteria: |  |
| --- | --- |
| Frequency of Acceptance Test: |  |
| Definition of fit for use: |  |

### Document in the form below the pre-trial acceptance test

| Date (dd-mmm-yyyy) | Equipment fit for use (Y/N) | Initials | Comments |
| --- | --- | --- | --- |

### Document in the form below each time an acceptance test is performed during the trial

| Date (dd-mmm-yyyy) | Equipment fit for use (Y/N) | ### Initials | Comments |
| --- | --- | --- | --- |